## Bill 1
Item | Header - Level 1 | Header - Level 2 | Header - Level 3 | Header - Level 4 | Header - Level 5 | Tender Technical Items
A | Wheatherproof Street Lighting Feeder Pillar
1 |  | Manufacturer
Sun System Engineering
Algebra Engineering
United Automation
2 |  | Country of Manufacture
Malaysia
3 |  | Switchboard Type
Outdoor IP 65
4 |  | Rated Voltage
415V
5 |  | Short-time withstand current for 1 second (KA)
50 kA
D | H.R.C Fuse Link
1 |  | Make
Sun System Engineering
Algebra Engineering
United Automation
2 |  | Country of Manufacture
Malaysia
3 |  | Rated Voltage
240V
4 |  | Class fusing factor
BS 88
5 |  | Short Circuit Rating
50 KA